阳光博士太阳能补水箱安装步骤

步骤一：用老虎钳夹住不锈钢管稍微用一点力旋转,并慢慢往外拉，把这个不锈钢管拉出来。

步骤二：把拔出来的不锈钢管丝头用密封胶带缠好安装到补水箱上。

步骤三：把固定垫套在不锈钢管上，不锈钢管涂上润滑液插到太阳能水箱上就可以了。这样安装好就不用其它固定了。

Procedure for installing a assistant water tank

Step 1: Hold the stainless steel pipe with a vise and rotate it with a little force, and slowly pull the stainless steel pipe out.

Step 2: Wrap the wire of stainless steel pipe with sealing tape and install it on the assistant tank .

Step 3: Put the fixed pad on the stainless steel pipe, and the stainless steel pipe is coated with lubricating liquid and inserted into the solar water tank. This installation does not need to be fixed with other spare parts.